| Instrument |  |  | Date |  |
| --- | --- | --- | --- | --- |
|  |  |  | Time Bypassed |  |
|  |  |  | Time Returned |  |
| Equipment Number/Unit: |  |  |  |  |
| Reason for Modification / Bypass: |  |  |  |  |

Check the Appropriate Box

|  | Type | Description | Additional Actions Required |  |
| --- | --- | --- | --- | --- |
|  |  |  | Alternate Protection Plan | Bypass Risk Assessment |
| □ | Type 1 | Bypass an instrument for repair or maintenance; instrument is part of fault tolerant system where SIF will still activate upon process demand; repair completed in less than 72 hours | No | No |
| □ | Type 2 | Bypass an instrument for repair or maintenance; instrument is part of fault tolerant system where SIF will still activate upon process demand; repair requires more than 72 hours | No* | YES |
| □ | Type 3 | Bypass an instrument for repair or maintenance; instrument is NOT part of fault tolerant system; repair completed in less than 72 hours | YES | No |
| □ | Type 4 | Bypass an instrument for repair or maintenance; instrument is NOT part of fault tolerant system; repair requires more than 72 hours | YES | YES |
| □ | Type 5 | Bypass for any reason other than instrument repair or maintenance | Per Bypass Risk Assessment * | YES |

* May be required if the Bypass Risk Assessment indicates that it is necessary

Approvals

|  | Description | Initials |  |
| --- | --- | --- | --- |
|  |  | Shift Supervisor | Unit Supervisor / Plant Manager |
| □ | Reason for bypass is appropriate |  |  |
| □ | Selection of bypass type is appropriate and correct |  |  |
| □ | An alternate protection plan has been prepared and is acceptable (if required) |  |  |
| □ | A Bypass Risk Assessment has been performed and is acceptable (if required) |  |  |
|  | Signature(s) |  |  |